Project or Work Site WHS Inspection Checklist

| Contractor or ANU area |  |  |  |
| --- | --- | --- | --- |
| Project/work site address |  |  |  |
| Check completed by |  | Date |  |

Note: This checklist is a guide to completing a project or work site inspection, check WHS requirements as required.

| WHS Requirements |  | Yes/No/NA | Comments |
| --- | --- | --- | --- |
| 1 | Principal contractor’s site specific WHS management plan is available on site (for project value => $250K). |  |  |
| 2 | Site security – site secured to restrict unauthorised access. |  |  |
| 3 | Signage – site and contractor details displayed clearly. |  |  |
| 4 | Entry/exit points are clear of obstruction. Where provided, mobility impaired access is unobstructed. |  |  |
| 5 | Alternate entry/exit points, including mobility impaired access, are clearly sign posted and clear of obstruction. |  |  |
| 6 | Emergency exits and paths of travel are clear of obstruction. |  |  |
| 7 | Amenities – access to facilities, ie, toilets, drinking water, washing and eating. |  |  |
| 8 | Housekeeping – site is free from slip, trip and fall hazards. |  |  |
| 9 | First aid kit – available on site and fit for purpose for the work. |  |  |
| 10 | Site induction – evidence of safety inductions being completed. |  |  |
| 11 | Communication - evidence of pre-start or tool box briefings being completed. |  |  |
| 12 | SWMS – available on site for high risk work*, reviewed by the PCBU and signed by each worker engaged in high risk work. |  |  |
| 13 | SWMS compliance – workers are complying with hazard control measures for high risk work. |  |  |
| 14 | Emergency plan – available and appropriate for the site. |  |  |
| 15 | PPE – prescribed by the PCBU and being worn by all workers on site #. |  |  |
| 16 | Electrical equipment, including switchboards – inspected and tested by a competent person every 3 months and records retained. |  |  |
| 17 | Electrical and/or gas services – isolated or locked out during work, tradesperson's name and phone number listed. |  |  |
| 18 | Site specific risks – hazards associated with airborne contaminants, hazardous atmospheres and falling objects are identified and controlled. |  |  |
| 19 | Flammable substances – stored appropriately and in lowest practical quantities. |  |  |
| 20 | Scaffolding >4m fall – Inspection tag/sheet displayed, inspected within 30 days (<4m fall should be inspected). |  |  |
| 21 | Traffic/pedestrian hazards – effective controls in place. |  |  |
| 22 | Mobile plant hazards – effective controls in place. |  |  |
| 23 | Incidents – have there been incidents on site that were not reported to ANU? |  |  |
| 24 | Notifiable incidents – is the PCBU aware that notifiable incidents must be reported to ANU immediately? |  |  |
| 25 | Site specific permits current – excavation, service isolation, etc. |  |  |

Additional comments (e.g. hazards observed but not listed in checklist and control measures being applied)

Please take photos of evidence where appropriate and upload to Figtree event if recorded.

* High risk work examples include: work at height (>2m); electrical work; excavation work (>1.5m);

# PPE examples include: hearing protection; safety boots and glasses; hi viz clothing; hard hats.

Contact Safety & Wellbeing if you require advice or assistance onsite, telephone 0406 403 025.