## Part A
Register of Confined Spaces
Part A: Confined Spaces under the Control of Facilities and Services
Number | Maximo Number | Building Number | Space (Archibus) Number | Contact Person | Description | Location | Confined Space Determination | [6 empty] | Potential hazards | [22 empty] | Entry’s per year | Signage, Entry permits and controlled access
a-bbb-cc a: 1 = zone, 2 = zone, 3 = zone, 4 = zone 4, 5 and 6 = non Acton campus, bbb: ANU building number cc: | [6 empty] | A | B | C | D - Does the space present a risk from: |  |  | If the answer to A, B , C and at least one of D is yes, then the space is a confined space. | 1 low oxygen | 2 asphyxiants | 3 poisoning (inhalation/skin) | 4. head impact | 5. eye impact | 6. falling objects | 7. fall from heights | 8. slips, trips or falls | 9. mechanical motion | 10. electric shock/electrocution | 11. fire/explosion | 12. heat stress | 13. cold stress | 14. drowning | 15. burial beneath solids | 16. ionizing radiation | 17. non-ionizing radiation | 18. noisy environment | 19. manual handling | 20. constrained movement | 21. entrapment | 22. engulfment | 23. other hazards |  | Signage | Entry/ Permit | Control Entry/Exit
[7 empty] | Is the space enclosed or partially enclosed | Is the space NOT designed or intended to be occupied by a person (Answer Yes, if it is Not designed or intended to be occupied by a person) | Is the space designed or intended to be at normal atmospheric pressure while any person is in the space | Harmful airborne or flammable contaminants | An unsafe oxygen level (i.e. < 19.5% oxygen) | Engulfment | Is this space a confined space?
1-054-06 |  |  |  | F&S | silt/neutralising pits | Florey Building Boiler Room | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
1-054-07 |  |  |  | F&S | silt/neutralising pits | Florey Building North-East Rear of Building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
1-061-02 |  |  |  | F&S | silt/neutralising pits | RSES J3 in front of plant room | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
1-061-03 |  |  |  | F&S | silt/neutralising pits | RSES J7 off foot path right of building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
1-061-04 |  |  |  | F&S | silt/neutralising pits | RSES rear courtyard J1& J4 Courtyard | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
1-061-05 |  |  |  | F&S | silt/neutralising pits | J2 garden area in- between J7 bike shed | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
1-058-07 |  |  |  | F&S | silt/neutralising pits | Cockcroft walkway under Leonard Huxley | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
1-058-08 |  |  |  | F&S | silt/neutralising pits | Cockcroft loading dock in driveway | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
1-058-09 |  |  |  | F&S | silt/neutralising pits | Eric Wiegold carpark under Leonard Huxley | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
1-131-02 |  |  |  | F&S | silt/neutralising pits | JCSMR RH workshop loading area | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
1-131-03 |  |  |  | F&S | silt/neutralising pits | JCSMR – Rear driveway loading area | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
1-131-04 |  |  |  | F&S | grease trap | JCSMR – Below café in rear car park loading area | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
1-131-05 |  |  |  | F&S | cooling pit | JCSMR – Rear driveway Florey Lane | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
1-131-06 |  |  |  | F&S | cooling and straining | JCSMR rear loading area JC-S2S-396 | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 |  | YES | YES
1-131-07 |  |  |  | F&S | 50KL Rainwater storage pit underground | Eastern car-park Florey Lane | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 12
1-131-08 |  |  |  | F&S | 80KL Rainwater storage pit underground | Southwest car- park Florey Lane | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 12 | YES | YES | YES
1-131-09 |  |  |  | F&S | silt/neutralising pits | Southwest end of car park in garden bed Florey Lane | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
1-132-01 |  |  |  | F&S | 150KLRain water storage | North side of building in gardens | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
1-142-01 |  |  |  | F&S | 50Kl Rain tank underground | West entry inside doorway | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES
1-143-01 |  |  |  | F&S | 50kl Rain tank underground | N-side Nat comp Infra Building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2
2-041-01 |  |  |  | F&S | silt/neutralising pits | Chemistry – University Avenue | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-041-02 |  |  |  | F&S | silt/neutralising pits | Chemistry – University Avenue | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-042-01 |  |  |  | F&S | silt/neutralising pits | Peter Baume Building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES
2-044-01 |  |  |  | F&S | silt/neutralising pits | Banks Building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-046-04 |  |  |  | F&S | silt/neutralising pits | RSB rear compound near EM Unit | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
2-046-05 |  |  |  | F&S | silt/neutralising pits | RSB front of building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 |  | YES | YES
2-046-06 |  |  |  | F&S | silt/neutralising pits | RSB Japanese garden | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [11 empty] | YES | YES
2-046-07 |  |  |  | F&S | silt/neutralising pits | RSB adjacent to Japanese garden | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [11 empty] | YES | YES
2-046-09 |  |  |  | F&S | PC2 pump pit S- 374 | RSB compound driveway left side | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
2-046-10 |  |  |  | F&S | 120KL Underground Rain tank rear compound | RSB beside new glass house | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-046-11 |  |  |  | F&S | Grease trap 500 Litre | RSB Eastern side of main entry | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-046-12 |  |  |  | F&S | Stormwater storage tank | RSB compound below shade-house plant culture | [13 empty] | x | x | [5 empty] | x |  |  |  |  | x |  | x |  |  | 1
2-047-01 |  |  |  | F&S | silt/neutralising pits | Geology | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-048-01 |  |  |  | F&S | silt/neutralising pits | Forestry building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-134-01 |  |  |  | F&S | silt/neutralising pits | Cunningham Close Car-park | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-134-02 |  |  |  | F&S | Cooling pit | Cunningham Close Car-park | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-134-03 |  |  |  | F&S | 120KL Rain water storage pit | Rear courtyard | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
2-135-01 |  |  |  | F&S | Sewer collection pump well | Pathway in between Linnaeus | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 12 | YES | YES | YES
2-135-02 |  |  |  | F&S | 20 KL Sludge dilution discharge tank | Underground tank in treatment plant- room | [7 empty] | x | x | x | x |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-135-03 |  |  |  | F&S | 52KL Buffer panel tank | Stainless Steel above-ground tank | [7 empty] | x | x | x | x |  | x | x |  |  | x | x |  |  | x | [9 empty] | 6 | YES | YES | YES
2-135-04 |  |  |  | F&S | 90KL Biology panel tank | Stainless Steel above-ground tank | [7 empty] | x | x | x | x |  | x | x |  |  | x | x |  |  | x | [9 empty] | 6 | YES | YES | YES
2-135-05 |  |  |  | F&S | 800KL Chilled water panel tanks | Stainless Steel above-ground | [7 empty] | x | x | x | x |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-135-06 |  |  |  | F&S | 800KL Chilled water panel tanks | Stainless Steel above-ground | [7 empty] | x | x | x | x |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-135-07 |  |  |  | F&S | 800KL Chilled water panel tanks | Stainless Steel above-ground | [7 empty] | x | x | x | x |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-135-08 |  |  |  | F&S | 50Kl Black water storage | Pathway in- between RSBS | [7 empty] | x | x | x | x |  | x | x |  |  | x | x |  |  | x | [9 empty] | 12 | YES | YES | YES
2-135-09 |  |  |  | F&S | 100KL Black Water tank underground | End of Biology Place carpark | [7 empty] | x | x | x | x |  | x | x |  |  | x | x |  |  | x | [9 empty] | 12 | YES | YES | YES
2-136-01 |  |  |  | F&S | silt/neutralising pits | North loading zone car park | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-136-02 |  |  |  | F&S | Cooling pit | North loading zone car park | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
2-136-03 |  |  |  | F&S | 50KL Rain water storage | Southwest corner of building in pathway | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 12 | YES | YES | YES
2001-03-31 |  |  |  | F&S | silt/neutralising pits | Ian Ross Building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 |  | YES | YES
2001-03-26 |  |  |  | F&S | CBE Rainwater storage tank | CBE Building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
3-032-01 |  |  |  | F&S | silt/neutralising pits | Nth edge of bldg. 32 next to access bridge Ian-Ross 31 | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1
3-033-01 |  |  |  | F&S | silt/neutralising pits | Chemistry Building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 |  | YES
3-035-01 |  |  |  | F&S | silt/neutralising pits | Birch Building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
3-038-01 |  |  |  | F&S | silt/neutralising pits | Science Road Physics Building | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [10 empty] | YES | YES | YES
3-039-01 |  |  |  | F&S | service ducts within basement | Physics/Psychology Building | [7 empty] | x | x |  | x |  |  |  | x |  | x | [5 empty] | x | [8 empty] | YES | YES | YES
4-000-01 |  |  |  | F&S | Pump out pit station | Sullivan's Creek, footbridge | [8 empty] | x | x |  |  | x | x |  |  | x |  |  |  | x | [9 empty] | 2 | YES | YES | YES
Coombs 4-009-01 |  |  |  | F&S | silt/neutralising pits | Coombs loading dock | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 1 | YES | YES | YES
4-130-01 |  |  |  | F&S | 100KL Rain water storage | North-east side near driveway to Coombs loading dock | [7 empty] | x | x | x |  |  | x | x |  |  | x | x |  |  | x | [9 empty] | 2 | YES | YES | YES
RSAA 5-000-09 |  |  |  | F&S and ICON Water | Water tank number 11 | Fire tanks 300 KL at top of the hill | [13 empty] | x | x | [5 empty] | x | [9 empty] | 1 | YES | YES | YES
RSAA 5-000-10 |  |  |  | F&S and ICON Water | Water tank number 10 | Located beside fire tank at top of hill | [13 empty] | x | x | [5 empty] | x | [9 empty] | 1 | YES | YES | YES
RSAA 5-000-11 |  |  |  | F&S and ICON Water | Water tanks | CSO potable storage tank. Located high side building | [13 empty] | x | x | [5 empty] | x | [9 empty] | 1 | YES | YES | YES
RSAA 5-000-12 |  |  |  | F&S | Water tanks | AITC potable water supply tank in tank room | [13 empty] | x | x | [5 empty] | x | [9 empty] | 1 | YES | YES | YES
RSAA 5-000-13 |  |  |  | F&S | Stormwater storage tank | AITC SW tank in plant room | [13 empty] | x | x | [5 empty] | x | [9 empty] | 1 | YES | YES | YES
RSAA 5-000-14 |  |  |  | F&S | Stormwater storage tank | AITC SW tank in plant room | [13 empty] | x | x | [5 empty] | x | [9 empty] | 1 | YES | YES | YES
RSAA 5-000-02 |  |  |  | F&S | Stormwater storage tank | Mount Stromlo Near Oddie telescope | [13 empty] | x | x | [5 empty] | x
RSAA 5-000-03 |  |  |  | F&S | Stormwater storage tank | Mt Stromlo Between Admin and Workshop | [13 empty] | x | x | [5 empty] | x
RSAA 5-000-04 |  |  |  | F&S | Stormwater storage tank | Mount Stromlo Water Tower | [12 empty] | x | x | x | [5 empty] | x |  |  |  |  | x |  |  |  | x
Note on J4: Xin Li: Would you please turn the A, B, C vertical?

## Part B
Register of Confined Spaces
Part B: Confined Spaces under the Control of a Budget Unit - General Spaces
Budget Unit and Description | Number* a-bbb-cc a: 1 = zone, 2 = zone, 3 = zone, 4 = zone 4, 5 and 6 = non Acton campus, bbb: ANU building number cc: | Maximo Number | Archibus Number | Contact Person | Location | Confined Space Determination For the space to be confined: 1.1 must be No, 1.2 and 1.3 must be Yes Any below-ground pit or conduit should be taken, prima facie, to be a confined space. | [5 empty] | Potential hazards** | [22 empty] | Entry’s per year | Signage, Entry permits and controlled access
[6 empty] | 1.1: is not designed or intended primarily to be occupied by a person; | 1.2: is, or is designed or intended to be, at normal atmospheric pressure while any person is in the space; | 1.3: is or is likely to be a risk to health and safety from: |  |  |  | 1 low oxygen | 2 asphyxiants | 3 poisoning (inhalation/skin) | 4. head impact | 5. eye impact | 6. falling objects | 7. fall from heights | 8. slips, trips or falls | 9. mechanical motion | 10. electric shock/electrocution | 11. fire/explosion | 12. heat stress | 13. cold stress | 14. drowning | 15. burial beneath solids | 16. ionizing radiation | 17. non-ionizing radiation | 18. noisy environment | 19. manual handling | 20. constrained movement | 21. entrapment | 22. engulfment | 23. other hazards
[8 empty] | an atmosphere that does not have a safe oxygen level, or | contaminants, including airborne gases, vapours and dusts, that may cause injury from fire or explosion, or | harmful concentrations of any airborne contaminants, or | engulfment. | [24 empty] | Signage | Entry/ Permit | Control Entry/Exit
JCSMR
Sub-floor access below building131 main stairs | 1-131-01 |  |  | Building/ Facilities manager | JCSMR | [6 empty] | x |  |  | x |  |  |  | x | [11 empty] | x |  |  |  |  | YES |  | YES
RSAA
Coude Room, 74" telescope | 5-000-01 |  |  | Building/ Facilities manager | Mount Stromlo | [12 empty] | x | x | [5 empty] | x
Water Storage Tank | 6-000-02 |  |  | Building/ Facilities manager | Siding Spring | [12 empty] | x | x |  |  |  |  | x | x
Water Storage Tower | 6-000-03 |  |  | Building/ Facilities manager | Siding Spring | [6 empty] | x | x | x |  |  |  | x | x | [10 empty] | x |  |  |  | x
Faulkes Telescope Basement | 6-000-04 |  |  | Building/ Facilities manager | Siding Spring | [6 empty] | x |  |  | x |  | x | x | x | x | x | [8 empty] | x |  |  |  | x
Timor Dam | 6-000-05 |  |  | Building/ Facilities manager | Siding Spring | [6 empty] | x | x |  |  |  |  | x | x |  | x |  |  |  | x | [5 empty] | x |  |  | x | 1
Mopra Property | 6-000-06 |  |  | Building/ Facilities manager | Siding Spring | [6 empty] | x | x |  |  |  |  | x | x |  | x |  |  |  | x | [5 empty] | x |  |  | x | 1
4WD Mountain Track | 6-000-07 |  |  | Building/ Facilities manager | Siding Spring | [6 empty] | x | x |  |  |  |  | x | x |  | x |  |  |  | x | [5 empty] | x |  |  | x | 1
4WD Mountain Track | 6-000-08 |  |  | Building/ Facilities manager | Siding Spring | [6 empty] | x | x |  |  |  |  | x | x |  | x |  |  |  | x | [5 empty] | x |  |  | x | 1
RSES
Ceiling space | 1-061-01 |  |  | Building/ Facilities manager | Jaeger 2 | [9 empty] | x |  |  | x |  |  | x |  | x | [7 empty] | x |  |  |  |  | YES | YES | YES
Service duct basement | 1-061-06 |  |  | Building/ Facilities manager | Jaeger 1 | [6 empty] | x | x | x | x |  |  | x |  |  | x | [9 empty] | x
Service tunnel below workshop | 1-061-07 |  |  | Building/ Facilities manager | Jaeger 6 | [6 empty] | x |  |  | x | [8 empty] | x | [5 empty] | x | x
RSB
Fresh air intake | 2-046-01 |  |  | Building/ Facilities manager | East Wing | [9 empty] | x |  |  | x | x | x | [14 empty] | 1
Service ducts within basement | 2-046-02 |  |  | Building/ Facilities manager | RSBS | [6 empty] | x | x | x | [7 empty] | x
Fresh air intake | 2-046-03 |  |  | Building/ Facilities manager | West Wing | [9 empty] | x |  |  | x | x | x | [14 empty] | 1
Silo (Wallaby yard) | 2-046-08 |  |  | Building/ Facilities manager | [7 empty] | x | x |  | x |  | x | x | x | x | x | [8 empty] | x |  |  | x
RSC
Service ducts within basement | 3-035-02 |  |  | Building/ Facilities manager | RSC | [6 empty] | x | x | x | [7 empty] | x | [13 empty] | YES | YES | YES
RSPE
Building space foundation cavity | 1-058-03 |  |  | Building/ Facilities manager | Cockcroft building stairwell level 2 | [6 empty] | x | [5 empty] | x | x |  |  |  | x | [11 empty] | 4
Building space service duct | 1-058-04 |  |  | Building/ Facilities manager | Carver central stairwell level 3 | [9 empty] | x |  |  | x |  |  | x | [9 empty] | x
Building space foundation cavity | 1-058-05 |  |  | Building/ Facilities manager | front basement Oliphant Northern retaining wall | [6 empty] | x | x | [5 empty] | x |  | x |  |  |  |  | x | [7 empty] | x
Stairway sub- floor | 1-058-06 |  |  | Building/ Facilities manager | Oliphant main entry stairs | [9 empty] | x |  |  |  | x |  | x | [12 empty] | x
Sub-floor access adjacent plant room | 1-058-08 |  |  | Building/ Facilities manager | Le-Couteur Building | [6 empty] | x | x |  | x |  |  |  | x |  |  |  | x | [7 empty] | x
Sub-floor access Northern side only | 1-058-09 |  |  | Building/ Facilities manager | Le-Couteur Building | [6 empty] | x | x |  | x |  |  |  | x |  |  |  | x | [7 empty] | x
Hugh Ennor
Vacuum bin, sludge | 1-117-01 |  |  | Building/ Facilities manager | loading dock 1.81 | [6 empty] | x | x | x | [11 empty] | x |  |  |  |  | x | x |  |  | 2 | YES |  | YES
University House
Basement tunnel | 2001-01-01 |  |  | Building/ Facilities manager | University House | [7 empty] | x |  | x | [6 empty] | x | [12 empty] | many | YES | YES | YES
Bruce Hall
Sub-floor service ducts | 2-040-01 |  |  | Building/ Facilities manager | beyond plant rooms | [6 empty] | x | x |  | x | [5 empty] | x |  | x | [7 empty] | x

## Part C
Register of Confined Spaces
Part C: Confined Spaces under the Control of a Budget Unit – Research Installation
Budget Unit and Description | Number* a-bbb-cc a: 1 = zone, 2 = zone, 3 = zone, 4 = zone 4, 5 and 6 = non Acton campus, bbb: ANU building number cc: | Maximo Number | Archibus Number | Contact Person | Location | Confined Space Determination For the space to be confined: 1.1 must be No, 1.2 and 1.3 must be Yes Any below-ground pit or conduit should be taken, prima facie, to be a confined space. | [5 empty] | Potential hazards | [22 empty] | Entry per year | Signage, Entry permits and controlled access
[6 empty] | 1.1: is not designed or intended primarily to be occupied by a person; | 1.2: is, or is designed or intended to be, at normal atmospheric pressure while any person is in the space; | 1.3: is or is likely to be a risk to health and safety from: |  |  |  | 1 low oxygen | 2 asphyxiants | 3 poisoning (inhalation/skin) | 4. head impact | 5. eye impact | 6. falling objects | 7. fall from heights | 8. slips, trips or falls | 9. mechanical motion | 10. electric shock/electrocution | 11. fire/explosion | 12. heat stress | 13. cold stress | 14. drowning | 15. burial beneath solids | 16. ionizing radiation | 17. non-ionizing radiation | 18. noisy environment | 19. manual handling | 20. constrained movement | 21. entrapment | 22. engulfment | 23. other hazards
[8 empty] | an atmosphere that does not have a safe oxygen level, or | contaminants, including airborne gases, vapours and dusts, that may cause injury from fire or explosion, or | harmful concentrations of any airborne contaminants, or | engulfment. | [24 empty] | Signage | Entry/ Permit | Control Entry/Exit
RSPE
14UD Accelerator Tower | 1-058-01 |  |  | Research Head | Cockcroft Building | [7 empty] | x | [7 empty] | x | [13 empty] | 2 | YES | YES | YES
Heliac | 1-058-02 |  |  | Research Head | Cockcroft Building | [7 empty] | x |  |  |  |  | x |  | x | x | [8 empty] | x | x |  |  |  | 1